IALA MODEL COURSE

C2001-9

AIDS TO NAVIGATION– TECHNICIAN TRAINING POWER SOURCES ON BUOYS

Edition 4.0

June 2026

Erreur ! Il n'y a pas de texte répondant à ce style dans ce document.

10, rue des Gaudines – 78100 Saint Germaine en Laye, France

Tél. +33(0)1 34 51 70 01 – Fax +33 (0)1 34 51 82 05 – academy@iala-aism.org

www.iala-aism.org

International Association of Marine Aids to Navigation and Lighthouse Authorities Association Internationale de Signalisation Maritime

DOCUMENT REVISION

Revisions to this IALA Document are to be noted in the table prior to the issue of a revised document.

| Date | Page / Section Revised | Requirement for Revision |
| --- | --- | --- |
| June 2016 | Entire document | Minor textual changes |
| December 2021 | Entire document | Review of content |
| June 2026 | Entire document | Minor textual and Time in hours changes |

CONTENTS

PART 1 - COURSE OVERVIEW	6

- SCOPE	6

- OBJECTIVE	6

- COURSE OUTLINE	6

- TEACHING MODULES	6

- SPECIFIC COURSE RELATED TEACHING AIDS	8

- ACRONYMS	8

- DEFINITIONS	8

- REFERENCES	8

PART 2 – COURSE MODULES	9

- MODULE 1 – SAFETY	9

  - Scope	9

  - Learning Objective	9

  - Syllabus	9

    - Lesson 1 - Stored Energy	9

    - Lesson 2 - Chemical Hazards	9

    - Lesson 3 - Personal Protection Equipment	9

    - Lesson 4 - Electrolyte spillage management	9

- MODULE 2 – BATTERY TYPES	9

  - Scope	9

  - Learning Objective	9

  - Syllabus	9

    - Lesson 1 - Non Rechargeable Batteries	9

    - Lesson 2 - Rechargeable Batteries	9

    - Lesson 3 - Matching loads to batteries	10

- MODULE 3 – BATTERY MAINTENANCE	10

  - Scope	10

  - Learning Objective	10

  - Syllabus	10

    - Lesson 1 - Battery Storage	10

    - Lesson 2 - Rechargeable Batteries	10

    - Lesson 3 - Routine Maintenance	10

    - Lesson 4 - Testing	10

    - Lesson 5 – Disposal	10

- MODULE 4 – BATTERY CHARGING	11

  - Scope	11

  - Learning Objective	11

  - Syllabus	11

CONTENTS

    - Lesson 1 - Charging sources	11

    - Lesson 2 - Charge regulation	11

    - Lesson 3 - Charge systems maintenance	11

- MODULE 5 – GENERAL CONSIDERATIONS AND SITE VISIT	11

  - Scope	11

  - Learning Objective	11

  - Syllabus	11

    - Lesson 1 - Environmental protection	11

    - Lesson 2 - Site visit	12

List of Tables

Table 1	Levels of Competence	6

Table 2	Table of Teaching Modules	6

FOREWORD

The International Organization for Marine Aids to Navigation (IALA) recognizes that training in all aspects of Aids to Navigation (AtoN) service delivery, from inception through installation and maintenance to replacement or removal at the end of a planned life-cycle, is critical to the consistent provision of that AtoN service.

Taking into account that under the SOLAS Convention, Chapter V, Regulation 13, paragraph 2; Contracting Governments, undertake to take into account the international recommendations and guidelines when establishing aids to navigation, including referring to the appropriate recommendations and guidelines of IALA. This includes recommendations on training and qualification of AtoN technicians, and consequently IALA has adopted Recommendation R0141 on Standards for Training and Certification of AtoN personnel.

IALA committees working closely with the IALA World-Wide Academy have developed a series of model courses for AtoN personnel having R0141 Level 2 technician responsibilities. This model course on an introduction to power sources on buoys should be read in conjunction with the Training Overview Document IALA WWA C2000 which contains standard guidance for the conduct of all Level 2 model courses

This model course is intended to provide national members and other appropriate authorities charged with the provision of AtoN services with specific guidance on the training of AtoN technicians in the installation and maintenance of power sources on buoys. Assistance in implementing this and other model courses may be obtained from the IALA World-Wide Academy at the following address:

| The Dean |  |  |
| --- | --- | --- |
| IALA World-Wide Academy | Tel: | (+) 33 1 34 51 70 01 |
| 10 rue des Gaudines | Fax: | (+) 33 1 34 51 82 05 |
| 78100 Saint Germain-en-Laye | e-mail: | academy@iala-aism.org |
| France | Internet: | www.iala-aism.org |

# PART 1- COURSE OVERVIEW

## SCOPE

This course is intended to provide technicians with an introduction to the installation, servicing and maintenance of power sources on buoys in a safe and efficient manner.

This introductory course is intended to be supported by further training modules on theoretical and practical aspects of floating aids to navigation. Details of these supporting model courses can be found in the Level 2 Technician training overview document IALA WWA C2000.

All persons working on power sources on buoys should be deemed by the competent authority to be responsible individuals.

## OBJECTIVE

Upon successful completion of this course, trainees will have acquired sufficient knowledge and skill to service and maintain aids to navigation (AtoN) power sources on buoys whilst working within their organizations.

## COURSE OUTLINE

This course is intended to cover the knowledge and practical competence required for a technician to properly install, service and maintain power sources on buoys. The complete course comprises five modules, each of which deals with a specific subject representing an aspect of power sources on buoys servicing and maintenance. Each module begins by stating its scope and aims, and then provides a teaching syllabus. This is a practical, job-centred course designed to provide trainees with a realistic, hands-on educational experience.

The required standard of competence is considered to be the level of proficiency that should be achieved for the proper performance of the duties carried out by the technician in their organization.

This Model Course is focussed at the basic level of competence.

##### Table 1	Levels of Competence

| Competence Level | Learning Outcome | Instructional Objectives | Required skills |
| --- | --- | --- | --- |
| 1 | The conduct of routine tasks with some supervision | A basic understanding of facts and principles | First stage in acquiring competency of a complex skill. Appropriate responses are identified through trial and error |

## TEACHING MODULES

##### Table 2 Table of Teaching Modules

| Module Title | Time in hours | Overview |
| --- | --- | --- |
| Safety | 1.0 | This module explains the potential hazards on buoy power systems and how to work safely with them |
| Battery types | 0.5 | This module covers the different types of energy storage types suitable for use on buoys |
| PV System Types | 0.5 | This module covers the different types of PV power types suitable for use on buoys |
| Battery & PV system maintenance | 1.0 | Explains how to maintain, operate and dispose of batteries & PV system for maximum life and safe disposal |
| Charging | 0.5 | Covers different types of charging methods available and charge regulation |
| General considerations and site visit | 1 | Covers general items of battery installation and operation before a site visit to consolidate knowledge gained on the course in a practical manner |
| Evaluation | 1.0 |  |
| Total Hours | 6.0 | 1 day course |

## SPECIFIC COURSE RELATED TEACHING AIDS

This course involves both classroom instruction and a visit to a buoy refurbishment facility. Classrooms should be equipped with appropriate teaching aids to enable presentation of the subject matter. Trainees should have access to the types of equipment that they will be expected to work with on the job.

## ACRONYMS

To assist in the use of this model course, the following acronyms have been used: AtoN	Aid(s) to Navigation

IALA	International Organization for Marine Aids to Navigation

NiCd	Nickel Cadmium

NiMH	Nickel Metal Hydride

PV	Photovoltaic(s)

SOLAS	International Convention for the Safety of Life at Sea, 1974 (as amended) WWA	World Wide Academy

## DEFINITIONS

The definition of terms used in this Model Course can be found in the International Dictionary of Marine Aids to Navigation (IALA Dictionary) at https://www.iala.int/wiki/dictionary/index.php/Main_Page

## REFERENCES

In addition to any specific references required by the Competent Authority, the following material is relevant to this course:

  - IALA Guideline G1067 on Selection of Power Systems for Aids to Navigation and Associated Equipment

  - IALA Guideline G1067-1 on Total Electrical Loads of Aids to Navigation

  - IALA Guideline G1067-2 on Power Sources

  - IALA Guideline G1067-3 on Electrical Energy Storage for Aids to Navigation

  - IALA Guideline G1039 on Designing Solar Power Systems for Marine AtoN

  - Technical documentation from equipment manufacturers.

# PART 2 – COURSE MODULES

## MODULE 1 – SAFETY

### SCOPE

This module explains the potential hazards on buoy power systems and how to work safely with them.

### LEARNING OBJECTIVE

To gain a basic understanding of how to work on buoy power sources in a safe manner.

### SYLLABUS

#### Lesson 1 - Stored Energy

- Battery stored energy.

- Danger of exposed terminals.

- Solar PV voltages.

#### Lesson 2 - Chemical Hazards

- Acid electrolyte.

- Toxic chemicals on high technology batteries.

- Hydrogen.

    - Lesson 3 - Personal Protective Equipment

1	Gloves, goggles, apron.

#### Lesson 4 - Electrolyte spillage management

1	Spillage of electrolyte and safe clean up.

## MODULE 2 – BATTERY TYPES

### SCOPE

This module covers the different types of energy storage types suitable for use on buoys.

### LEARNING OBJECTIVE

To gain a basic understanding of the different types of batteries suitable for use in power systems on buoys.

### SYLLABUS

#### Lesson 1 - Non Rechargeable Batteries

- Alkaline, Lithium.

- Applications including when a non-rechargeable would be selected.

- Safe disposal.

#### Lesson 2 - Rechargeable Batteries

- Gel/ liquid lead acid.

- NiMH/NiCad.

- Lithium.

- Applications including when a rechargeable battery would be selected.

- Battery housing and ventilation.

#### Lesson 3 - Matching loads to batteries

- Voltages in common use.

## MODULE 3 – PV SYSTEM TYPES

### SCOPE

This module covers the different types of solar energy types suitable for use on buoys.

### LEARNING OBJECTIVE

To gain a basic understanding of the different types of solar panels suitable for use in power systems on buoys.

### SYLLABUS

#### Lesson 1 - types

- monocrystalline cell

- polycrystalline cell

#### thin film cell or amorphous silicon

## MODULE 3 – BATTERY & SOLAR PANEL MAINTENANCE

### SCOPE

Explains how to maintain, operate and dispose of batteries for maximum life and safe disposal.

### LEARNING OBJECTIVE

To gain a basic understanding of how to maintain batteries and how to optimize battery life.

### SYLLABUS

#### Lesson 1 - Battery Storage

- Storage locations.

- Effects of complete discharge in storage.

- Maintaining charge during storage.

#### Lesson 2 - Rechargeable Batteries

- Advantage of battery conditioning prior to use in service.

- Methods of battery conditioning.

- Frequency of battery conditioning.

#### Lesson 3 - Routine Maintenance

1	Visual inspection:

- Swelling of the casing & Swelling of the cells

- Cleaning of solar panels.

- Terminal and connection integrity.

- Signs of electrolyte leakage on batteries

- Corrosion.

- Corrosion prevention as per manufacturer’s recommendations.

- Policy decision on when to replace.

    - LESSON 4 - TESTING

- Expected voltages.

- Discharge testing.

- Use of propriety condition monitors and test equipment.

#### Lesson 5 – Disposal

- Safe disposal.

- Local regulation.

## MODULE 4 – BATTERY CHARGING

### SCOPE

This module covers different types of charging methods available and charge regulation.

### LEARNING OBJECTIVE

To gain a basic understanding of the options for charging buoy batteries and how to maintain charging systems.

### SYLLABUS

#### Lesson 1 - Charging sources

- Solar PV.

- Wind generation.

- Other charging sources.

#### Lesson 2 - Charge regulation

- Regulation integral to the charging source.

- Regulation external to the charging source.

#### Lesson 3 - Charge systems maintenance

1	Charge output checks

## MODULE 5 – GENERAL CONSIDERATIONS AND SITE VISIT

### SCOPE

This module covers general items of battery installation and operation before a site visit to consolidate knowledge gained on the course in a practical manner

### LEARNING OBJECTIVE

To gain a basic understanding of the overview of conditions and general issues pertinent to power systems on buoys.

### SYLLABUS

#### Lesson 1 - Environmental protection

- Terminal covers:

  - Open.

  - Sealed.

- Battery boxes:

  - Sealed

  - Vented

- Location:

- Access.

- Theft.

- Wave protection.

#### Lesson 2 - Site visit

- Visit to a buoy yard to view power system installations.

- Visit to battery conditioning installation.