## Sheet1
EEP14/8/9
Item | Location | Repair Works | Emergency Works | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
6.1.00 | Roofs | Periodic maintain/ monitor and ultimate replacement |  | 32300 | 4050 | 1050 | 1050 | 243650
6.2.00 | Abutments | Repair/ repoint/ overhaul | [5 empty] | 47700
6.3.00 | Parapets | Repair/ repoint/ overhaul | 750 | 16000 |  |  |  | 40450
6.4.00 | Roof Construction | Check condition of roof timbers and decks in conjunction | [5 empty] | 4000
6.5.00 | Roof Lights | Main replacements Included in works to roofs. Periodic check/overhaul |  |  | 500 |  | 500
6.6.00 | Rainwater goods | Overhaul/replace |  | 16000 | 9000 |  | 2000 | 37500
6.7.00 | Roof Voids | Increase thickness of insulation during Mainworks to roofs. Periodic check/overhaul |  | - | - | - | - | 11000
6.7.03 | Roof Voids | Fit handrail & balustrade to access walkway, insulate small tank and pipework to rear roof void | 5650
6.8.00 | Lift Motor rooms | Repair/ repoint/overhaul soffits, walls and steel access lader. | 1200 | 7650
6.9.00 | Frame | Check and fit fire protection required to exposed basement steelwork |  |  | 3500
6.10.00 | External walls | overhaul/repoint |  | 2400 | 3000 |  |  | 96000
6.11.00 | Damp proof course | Repairs |  | 3750 |  | 15000
6.12.00 | Windows and doors | Check standard of glazing to window room 121 | 350
|  | Repairs Replacement |  | 44050 | 1550 | 42050 | 1550 | 178750
6.13.00 | External decorations | Redecorate to cyclical programme | [5 empty] | 59500
6.14.00 | Sanitary accommodation & fittings | Periodic sevice and overhaul |  | 1500 | 1500 | 1500 | 1500 | 1500
6.15.00 | Floors | Periodic replacement of damaged and worn finishes |  | 5000 | 5000 | 5000 | 5000 | 5000
6.16.00 | Ceilings | Replace kitchen suspended ceiling and periodic replacement throughout building |  | 5500 | 1500 | 1500 | 1500 | 1500
6.17.00 | Internal doors | Periodic repair replacement |  | 4500 | 4500 | 4500 | 4500 | 4500
6.18.00 | Internal decorations | Redecorate on cyclical rollinf g programme |  | 16000 | 16000 | 16000 | 16000 | 16000
6.19.00 | Below ground drainage | Periodic check and flush |  |  | 600 |  |  | 600
6.20.00 | Delaterious materials | Test and remove as necessary | 2000 | 3000 |  |  |  | 3000
6.21.00 | Means of escape & Fire equipment | Maintain standard of escape routes and annual test/overhaul equipment |  | 2250 | 2250 | 2250 | 2250 | 2250
6.22.00 | Energy conservation | Replacement upgrade windows included previosly.6.12.01 Increase insulation in roof voids included previousley 6.7.04
6.23.00 | Access | Periodic check and overhaul doors and all fittings as required |  | 1750 | 1750 | 1750 | 1750 | 1750
6.24.00 | Environmental | Deep clean kitchen floor tiles |  | 1050
6.25.00 | Safety equipment | Test eye bolts to windows/ add eye bolts to remaining windows |  | 6500 | 1500 | 1500 | 1500 | 1500
7.00.00 | Electrical | Test/repairs/upgrade |  | 154750 | 271250 | 167750 | 15750 | 15750
8.00.00 | Mechanical | Regular tests/repairs |  | 17000 | 17000 | 17000 | 17000 | 17000
| TOTALS |  | 9950 | 340950 | 344450 | 276850 | 71850 | 788900