IALA EEP15 WG4 Light Source Update

compiled by Ian Tutt 10.02.2011

PhlatLight® White LED   http://www.luminus.com/

SST-90 Series

Features

• Extremely high optical output: Over 2,250 lumens from a single chip (white)

• Extremely high efficiency: Over 100 lumens per watt at 3.15A

• High thermal conductivity package - junction to case thermal resistance of only 0.64 °C/W

• Large, monolithic chip with uniform emitting area of 9 mm2

• Lumen maintenance of greater than 70% after 60,000 hours

• Variable drive currents: less than 1 A through 9 A to full reliability specifications.

Figure 1 Phlatlight SST-90 Measurement Results for White LED – Candelas vs Angle

# PhlatLight® Color Series LED SST-90-R,G,B

Features

• Extremely high optical output: 	Over 500 Red Lumens

Over 950 Green lumens

Over 200 Blue Lumens

• High thermal conductivity package - junction to case thermal resistance of only 0.64 ºC/W

• Large, monolithic chip with surface emitting area of 9 mm2

• High luminous efficacy

• Lumen maintenance of greater than 70% after 60,000 hours

• Environmentally friendly: RoHS compliant

• Variable drive currents: less than 1 A through 6 A

• Currently available in Red, Green and Blue

• Electrically isolated thermal path