EEP17/5/6

CIE – IALA Liaison Report for EEP17

# Introduction

From July10th -15th CIE held its 27th Session in Sun City (South Africa). Similarly to IALA every four years CIE brings its members, stakeholders and all those who have an interest in lighting together to review progress, exchange information and present research programmes. CIE has eight divisions and of those, Division 1: Vision and Colour, Division 2: Metrology and Division 4: Lighting and Signalling for Transport are of interest to IALA. Within each division Technical Committees (TC’s) are established to produce standards and guidance notes. TC’s which are of interest to IALA are highlighted in the following section.

# Division News

## Division 1: Vision and Colour

TC1-58 Visual Performance in the Mesopic Range

The Technical Report has been published as CIE191:2010 and the Technical Committee was closed.

TC1-64 Terminology for Vision, Colour and Appearance

The long awaited International Lighting Vocabulary (ILV) will be published once the final terms & definitions? has been resolved. Division 1 has several new terms, which have been distributed to the TC members for comment. It has to be decided how new terms will be added to the ILV once it is published. However, this TC will continue to prepare the new terms from Division 1 for future updates to ILV. In addition, the TC chair will continue to review new Technical Reports for new terms.

TC1-68 Effect of Stimulus Size on Colour Appearance

Draft 5 of the Technical Report has been prepared. Three mathematical models are described in the report. They are intended to describe only the specific viewing situations of the experimental data underlying these models. The Committee considers these models tentative and no model is recommended in this Technical Report. To recommend a model, further exploratory and validating experiments are needed.

TC1-84 (NEW TC) Definition of Visual Field for Conspicuity

Terms of Reference: To define and classify functional visual fields for universal tasks and develop guidelines for the layout of visual information to increase the visibility of visual signs, displays and markings.

## Division 2: Metrology

TC2-28  Methods of characterizing spectrophotometers (T.Goodman):

Only a few items need to be added to complete the draft. Tony Bergen will help to finish it as co-chair. Target is end of the year for draft to be sent out to TC members.

TC2-70 Standards for the Measurement of Reflectance and Transmittance Properties of Materials (D. Rich):

The TC was officially established after Board Administration approval in March 2011.  The TC membership has been formed since then. The TC is ready to start its work with 17 members including the TC Chair?.

TC2-49  Photometry of Flashing Light (Y. Ohno):

TCC gave report. The document is nearly finished and the final report will be ready for TC-ballot by end of August.

TC2-43  Determination of Measurement Uncertainties in Photometry (G. Sauter):

The TCC gave a report. The recommendation was just published as CIE 198:2011. It includes the main document and a supplement, which is divided into three parts,

CIE 198 - SP1.1:2011 to CIE 198-SP1.4:2011

Vote to close the Technical Committee: unanimous

TC2-65  Photometric Measurements in the Mesopic Range (T. Goodman):

The report was given by the TCC. The TC met in Sun City. It was decided to start with measurement issues regarding applications in the field of road lighting where mesopic photometry is most important. However, some important questions, like the adaptation point in the field of view, have to be forwarded to D4 for clarification. To educate people and to avoid the use of inappropriate terms like “mesopic lumen” a small task group will work out a public technical note presented on the CIE website. An “Expert Symposium on Mesopic Measurements and Measurement Systems” is planned for the fourth week of January 2012.

TC2-71 (S)  CIE Standard on Test Methods for LED Lamps, Luminaires and Modules (Y. Ohno):

The TCC gave a report on the recently established TC. This TC was established in May 2011 as a part of the new strategies to produce CIE standards on SSL products being discussed since the Bern meeting.  The aim is to work with CEN TC169/WG7 (Chair: Guy Vandermeersch) to develop a test method standard for LED lamps, luminaires, and modules, and publish as CEN and CIE standards.  The CEN document is currently titled “Measurement procedures for the photometry of LED-lamps, modules and luminaires and the presentation of data. This standard will be consistent with the IEC performance requirements.

After approval of the TC, the Division Director sent out email to D2 mailing list to collect temporary members.  The member list includes up to now 29 members.

The TC met in Sun City. Peter Blattner gave a short presentation on the CEN project and Günther Heidel introduced a project of DIN complementing parts of the CEN project.  TCC also received a Japanese draft standard document from Dr. Shitomi. The membership structure was discussed, and it was agreed to use NCs to connect to manufacturers of products.

TC proposal (3)

Title: Goniospectroradiometry of Optical Radiation Sources

TR:   To prepare a technical report on goniospectroradiometry to summarize measurement principles for evaluating radiometric, photometric and colorimetric quantities and related traceability.

TCC: Jiangen Pan (CN)

Initial members: (Georg Sauter(DE)), Janos Schanda(HU), Yoshi Ohno(US),  Peter Blattner(CH), Tony Bergen(AU), (Teresa Goodman(UK)),  Yandong Lin(CN), (Richard Young(UK/DE))

Note from after the meeting: the BA approved the establishment of TC. The number is TC2-74

## Division 4: Lighting and Signalling for Transport

TC4-47 Application of LEDs in Transport Signalling and Lighting

An extensive document review was held during the meeting. 35 comments and issues were identified and inserted in the document. Task assignments for dealing with these comments were made.

TC4-32 Revision of Publication CIE 39-2:1983: Surface Colours for Visual Signalling

Unfortunately a meeting during the CIE quadrennial session in South Africa could not be arranged. In October 2011 it is hoped to arrange a meeting beside the DfWG (German Society of Colour Science and Application) session at the PTB (International Graduate School of Metrology) in Braunschweig (Germany). A draft should be ready and submitted for the end of 2011. The target is, to prepare a document for editorial check by end 2012.

It is the target, to publish the CIE 39.3 in 2013 (comment 30 years after the rev. 2).

# Summary

The output from the above mentioned Technical Committees will impact the following IALA Publications:-

E-200 Series of Recommendations

E-108 on Surface Colours

1041 On Sector Lights

1061 On Light Applications Illumination of Structures

1043 On Light Sources Used on Visual Aids to Navigation

1048 On LED Technologies and their use in Signal Lights

Author: M. Nicholson	Date: 15/09/11

Approved:	N. Ward	Date: 16/09/11