Level 2 Technician course index for World Wide Academy

1	Buoys - general

- Handling & safe working practices

  - Manual handling

  - Mechanical handling

- Enclosed space

- Types and use:

  - Floating

  - Spar buoy

  - Resilient beacon

- Retrieval

- Cleaning

- Deployment:

  - Buoy handling – surface coating protection

  - Final AtoN and other system testing

  - Accurate positioning

- 2	Buoy Moorings (Completed)

- Design

- Assembly

- Chain, shackles & swivels

- Synthetic mooring lines

- Sinkers

3	BUOY MAINTENANCE

- Plastic

  - Coatings

  - Repair

  - Metal component maintenance

- Steel:

- Surface preparation

- NDT – weld and hull thickness

- Repair – welding

- Painting

- Cathodic protection

- 4         BUOY AtoN

- Light sources

- Racon

- AIS

- Fog signals – mechanical and electrical

- Radar target enhancer

5	DC Power SYSTEMS (Completed)

- Overview of components

- Health & Safety

- Solar generation

- Wind generation

- Battery charging

- Battery storage

- Isolation & protection

- Distribution

6	PRIMARY & SECONDARY BATTERIES (COMPLETED)

- Health & Safety with batteries

- Battery types

- Storage

- Maintenance

7	Photovoltaic Systems (COMPLETED)

- PV cell types

- PV array configuration

- Maintenance

- Inspection

- Specification

- The solar model

8	Wind Generators

- Types of wind generator

- Application & location

- Load modelling

- Maintenance

9	AC POWER Systems

- Health & Safety

- Inverters / converters

- Isolation & protection

- Local regulation / standards

- Maintenance

- Inspection

10	Diesel Generators – mechanical aspects

- Overview of the diesel generator

- Health & Safety

- Fuel storage & distribution

- Installation

- Air intake & exhaust systems

- Heat recovery

- Cooling systems

- Operation

- Maintenance

11	Lightning Protection

- Principles of lightning protection

- Systems available

- Surge protection

- Earthing

- Bonding

- Inspection & testing

- International Standard IEC 62305-4

12	Lights

- Light sources

- Colours

- Flash characters

- Lamp changers

- Self contained lanterns

- Rotating beacons

  - Drive systems

- Focal height

  - Alignment

13	Sound signals

- Electrical

- Fog detectors

14	Coating Systems

- Specification

- Surface preparation

- Application

- Testing & quality records

- Health & Safety

15	Tender vessels

16	Racons

- Configuration

  - Character selection

  - Duty cycle

- Testing

17	AIS

- Principles of operation

- AIS base station

- AIS AtoN

- AIS repeater

- Installation

- Configuration

  - MMSI & slot management

- Maintenance

- Testing

18	DGNSS (DGPS)

- Principles of operation

- Receivers

- Integrity & reference modules

- Transmitters

- Operation

- Maintenance

- Monitoring of accuracy & signal strength

19	Remote monitoring and control

- VHF

- AIS

- GSM

- Satellite

- Monitoring inputs

- Alarms

20	Structures and materials

- Types of material

- Corrosion

- Stone & concrete weathering

- Protection

21	Cathodic protection

- Principles or corrosion

- The galvanic table

- Methods of protection

- Sacrificial anodes

- Impressed current

- Monitoring

- Maintenance