## Slide 1
TOWARDS A NEW CENTURY OF LIGHT
THE INTERNATIONAL COMMISSION ON ILLUMINATION (CIE) FACING ITS CENTENARY
Peter Blattner
Director CIE Division 2
Head of Photometric Laboratory at METAS, Switzerland

## Slide 2: IT IS ABOUT::::::
LIGHT & VISION & COLOUR
SCIENCE & STANDARDS
KNOWLEDGE TRANSFER & QUALITY ASSURANCE

## Slide 3: THE BRAND
Recognized worldwide as being the best authority on the subject
High Quality
Independent & Unbiased
  Setting Standards in Science & Applications

## Slide 4: STAKEHOLDERS
CIE
Industry
Lighting Designers
Metrology Institutions
Standards Organizations
International Organizations
Academia

## Slide 5
Bureau International de Poids et Mesures (BIPM)
European Standardization Committee (CEN)
International Standards Organization (ISO)
International Electrotechnical Commission (IEC)
Lighting Urban Cities International (LUCI)
Professional Lighting Designers Association (PLDA)
International Association of Lighting Designers (ILDA)
Global Lighting Association (GLA)
LIAISONS

## Slide 6
1900: World Exhibition in Paris-Commission de la Photométrie
1913: Commission International de l‘Eclairage
1986: Central Bureau established in Vienna
2012: Meeting the Challenges
MILESTONES IN HISTORY

## Slide 7: THE COMMISSION
1400 Experts (Scientists, Standardization Officers, Lighting Designers in more than 50 Countries)
41 National Committees in all Continents
15 Industry Members
7 Divisions
129 Scientific Project Groups (Technical Committees)

## Slide 8
DIVISIONS
Vision and Colour
Measurement of Light and Radiation
Interior Environment and Lighting Design
Lighting and Signalling for Transport
Exterior Lighting and Other Applications
Photobiology and Photochemistry
Image Technology

## Slide 9
TECHNICAL COMMITTEES
Scientific Heart of the Organisation
Semi-permanent Units
Clear Terms of Reference, Workplan and Schedule
Aims at Publication of a Standard, Technical Report or Guide
Easy Access to TCs for Contributing Experts

## Slide 10: CIE Division 2
Terms of Reference
To study standard procedures for the evaluation of ultraviolet, visible and infrared radiation, global radiation, and optical properties of materials and luminaires.
To study optical properties and performance of physical detectors and other devices required for their evaluation.

## Slide 11: Need for trustful measurement results
Globalization
Emerging
Technology
Regulation
Same test procedures world wide
New procedures?
New parameters?
Conformity assessement
(comparison btw measurements and limit values)
Notes: Lets look closer to those three aspects and let’s ask the question what are the requirements for trustful measurements results:
For globalization it is quite clear: we need same test procedures world wide
If we look at the fact that we are dealing with emerging technology we have to think on what is new about this technology. Do we need new test procedures ? Are there new parmeters?
If we go to regulation with have to think on conformity assemement. How to the measuremetn compare with the limit values
The first point is quite trivial. It just means that we need a international standard probably worked out by an international organization. And of course CIE is in a good position to fulfil this requirements.
In respect to point two:

## Slide 12: Is LED photometry different from «classical» photometry?
No fundamental differences, but several
new apects and few critical points to consider

## Slide 13
CIE TCs related to LED/SSL
TC2-50 Measurement of the optical properties of LED assemblies (R. Distl)
TC2-63 Optical measurement of high-power LEDs (Y. Zong)
TC2-64 High speed testing methods for LEDs (G. Heidel)
TC2-66 Terminology of LEDs and LED assemblies (J. Schanda)
TC2-68 Optical measurement methods for OLEDs used for lighting (T. Gerloff).
TC2-71 CIE Standard on test methods for LED lamps, luminaires, and modules (Y. Ohno)
TC2-72 The Evaluation of Uncertainties in Measurement of the Optical Properties of Solid State Lighting Devices, including Coloured LEDs (G. Sauter)
TC2-73: Measurement of Quantities Relating to Photobiological Safety of Lighting Products (T. Mou)
TC2-75 Photometry of Curved and Flexible OLED and LED Sources (H-L Yu)
TC2-76 Characterization of AC-Driven LED Products for SSL Applications (P-T Chou)

## Slide 14: Spectral match of real photometers

## Slide 15: Error due to spectral mismatch of photometer
Error
CIE- Quality index f1‘

## Slide 16: Improved measurement procedures
Example: straylight correction method in spectroradiometer
CIE TC2-51
Chart: Wellenlänge / nm
 | 2e-05 | 0.5

## Slide 17: Radiation pattern model for „ideal“ LEDs
Half-angle g
60° 1
45° 2
30° 4.8
20° 11
15° 20
10° 45
5° 181
3° 505
2° 1137
1° 4551

## Slide 18: Estimation of the validity of the inverse square law

## Slide 19
Division 2: Metrology
TC2-28 Methods of characterizing spectrophotometers (T. Goodman)
TC2-70 Standards for the Measurement of Reflectance and Transmittance Properties of Materials (D. Rich)
TC2-49 Photometry of Flashing Light (Y. Ohno)
TC2-65 Photometric Measurements in the Mesopic Range (T. Goodman)
TC2-71 CIE Standard on Test Methods for LED Lamps, Luminaires and Modules (Y. Ohno)
TC2-74 Goniospectroradiometry of Optical Radiation Sources (J. Pan)

## Slide 20: Need for trustful measurement results
Globalization
Emerging
Technology
Regulation
Same test procedures world wide
New procedures?
New parameters?
Conformity assessement
(comparison btw measurements and limit values)
Notes: Lets look closer to those three aspects and let’s ask the question what are the requirements for trustful measurements results:
For globalization it is quite clear: we need same test procedures world wide
If we look at the fact that we are dealing with emerging technology we have to think on what is new about this technology. Do we need new test procedures ? Are there new parmeters?
If we go to regulation with have to think on conformity assemement. How to the measuremetn compare with the limit values
The first point is quite trivial. It just means that we need a international standard probably worked out by an international organization. And of course CIE is in a good position to fulfil this requirements.
In respect to point two:

## Slide 21: Measurement results
The result of a measurement is not a single value but a probability distribution
The spread of the distribution gives an indication on the confidence we can have in a measurement result

## Slide 22: Conformity statement
accepted
rejected
Limit value
rejected
accepted
??
??

## Slide 23: Risk analysis
measured value
«true» value
Correct acceptance
Wrong acceptance
Wrong rejection
Correct rejection
Limit value
rejected
accepted
->Correct estimation of the uncertainty is essential
Shared risk between user and producer

## Slide 24: Uncertainty calculation
Determination of Measurement Uncertainties in Photometry
CIE 198:2011
ISBN 978 3 902842 00 8
This report is a recommendation for the determination of measurement uncertainties associated with the values of selected quantities in photometry. The report explains the steps from the initial procedures for a measurement of input quantities to a final statement of the output values with associated expanded uncertainties. The main part summarises the fundamental definitions for the evaluation of standard, combined and expanded uncertainties following the rules in the internationally agreed "Guide to the Expression of Uncertainty in Measurements" (GUM) and its supplement 1.
More to come…

## Slide 25: CIE Expert Workshop on Advanced Methods for Photometry and Radiometry
8th – 9th October 2013, Bled, Slovenia
www.sdr.si/sl/div2.html
Topics:
Measurement uncertainty in photometric testing of SSL products
Sampling theory in photometry and spectroradiometry