# Seminar on the Practical Aspects of Lighthouse Preservation

Title: IALA Heritage – Conservation of Lighthouse Structures

Scope: The traditional construction methods used to build the structures, their behaviour, their need for internal and external coatings, the effects of salt ingress and transfer, and the importance of maintaining the internal condition of the structures.

Aim: To promote a full understanding of the various types of constructions, their day-to-day behaviour and needs, and to establish ‘Best Practices’ for their cost effective upkeep with the use of a number of case studies.

Reason: The painting or external coating of lighthouse structures has a serious impact on their preservation. The older the structures, the more vulnerable they become. The coating chosen must be appropriate for the type of construction material. Failure will allow moisture to travel through to the inner face carrying with it dissolved salts that will attack the building materials. On reaching the inner surface it will appear as surface moisture, leading to the problems of condensation, corrosion, mould growth and general deterioration of fixtures and fittings. This may cause damage to the equipment and in the case of an operational lighthouse may affect reliability of the AtoN.

Topics to be covered:

- Use of traditional versus modern materials and techniques

- Type of coatings impermeable or permeable

- Corrosion and material degradation

- Lime versus Cement

- Use of sealants

- Effect of water ingress on lime mortars

- Effects of the ingress of salts

- Surface effects of salt crystallisation

- Surface stabilisation methods (internal and external)

- Effects of high humidity on internal structure and equipment

- Visual indications of distress

- Associated Health and Safety issues

- Maintaining records of processes and materials used.

Participants: Heritage and maritime authorities, industrial members, universities, scientific bodies, preservation societies and other appropriate organisations.

Duration: 3 days

Date: Spring 2005

Venue: to be decided – options considered: Sweden (near Kullen), UK (Lizard or Nash Point Lighthouse), France( ), Canada( ),USA( )…..