PRODUCT CERTIFICATION TEMPLATE 3d

Diesel generators

# Purpose

This product template identifies the parameters that should be defined and the standards against which each parameter should be tested to enable a realistic comparison to be made between competing products.

# Scope

The template is applicable to diesel generators

## Product Template 3c – Diesel generators

| Ref. No | Parameter category | Parameter | Test Specification | Comments |
| --- | --- | --- | --- | --- |
| 1.1 | electrical | Nominal output power |  | kva kw |
| 1.2 |  | Nominal frequency |  | hz |
| 1.3 |  | Phases |  |  |
| 1.4 |  | Output voltage |  |  |
| 1.5 |  | Power rating |  | Standby, prime |
| 2.1 | Physical | Weight |  |  |
| 2.2 |  | Size |  |  |
| 2.3 |  | Mounting arrangement |  | Coupling, baseframe |
| 3.1 | Alternator | Nominal rotation speed |  |  |
| 3.2 |  | Insulation system, class |  |  |
| 3.3 |  | Voltage regulation |  |  |
| 3.4 |  | Electrical design | IEC 60034 |  |
| 3.5 |  | Over-speed limit |  |  |
| 4.1 | Engine | Type |  |  |
| 4.2 |  | Cylinder configuration |  |  |
| 4.3 |  | Nominal speed |  |  |
| 4.4 |  | Speed regulation |  |  |
| 4.5 |  | Over-speed protection |  |  |
| 4.6 |  | Maximum power at rated rpm |  |  |
| 4.7 |  | Starting system |  |  |
| 4.8 |  | Cooling system |  |  |
| 4.9 |  | Fuel consumption |  |  |
| 4.10 |  | MTBF |  |  |
| 4.12 |  | Rated life |  |  |
| 4.13 |  | Maintenance periods |  | Specify for all serviceable components |
| 5.1 | Environmental | Temperature – operational and storage |  |  |
| 5.2 |  | Humidity – operational and storage | IEC 600945 section 8.3; IEC 60068-2-3 |  |
| 5.3 |  | Sealing |  | International Protection (IP) rating |
| 5.4 |  | Salt air and sea water spray | IEC 600945 section 8.12 |  |
| 5.5 |  | Paint finish |  |  |
| 5.6 |  | Shock and vibration | IEC 600945 section 8.7; |  |
| 5.7 |  | Electromagnetic interference | IEC 600945 sections 9 & 10 |  |
| 5.8 |  | Noise level | ISO 8528-10 |  |
| 5.9 |  | Exhaust system |  |  |