PRODUCT CERTIFICATION TEMPLATE 3f

PV Solar regulators

# Purpose

This product template identifies the parameters that should be defined and the standards against which each parameter should be tested to enable a realistic comparison to be made between competing products.

# Scope

The template is applicable to PV solar regulators used on ATONs

## Product Template 3f – PV solar regulators

| Ref. No | Parameter category | Parameter | Test Specification | Comments |
| --- | --- | --- | --- | --- |
| 1.1 | Electrical | Output current rating |  | Output current limit |
| 1.2 |  | Nominal system voltage |  |  |
| 1.3 |  | PV open circuit voltage |  |  |
| 1.4 |  | Standby power consumption |  |  |
| 1.5 |  | Charge on power consumption |  |  |
| 1.6 |  | Equalization voltage |  |  |
| 1.7 |  | Temperature compensation |  |  |
| 1.8 |  | Power conversion efficiency |  |  |
| 1.9 |  | Short circuit protection |  |  |
| 2.1 | Control | Charge control |  |  |
| 2.2 |  | Monitoring |  |  |
| 2.3 |  | Charge algorithm |  |  |
| 3.1 | Physical | Size |  |  |
| 3.2 |  | Rated life |  |  |
| 3.3 |  | Weight |  |  |
| 3.4 |  | Sealing |  | International Protection (IP) rating |
| 3.5 |  | MTBF |  |  |
| 4.1 | Environmental | Temperature – operational and storage |  | Specified temperature range |
| 4.2 |  | Humidity – operational and storage | IEC 600945 section 8.3; IEC 60068-2-3 |  |
| 4.3 |  | Immersion | IEC 600945 section 8.9 |  |
| 4.4 |  | Salt air and sea water spray | IEC 600945 section 8.12 |  |
| 4.5 |  | Ultraviolet exposure |  |  |
| 4.6 |  | Shock and vibration | IEC 600945 section 8.7 |  |
| 4.7 |  | Electromagnetic interference | IEC 600945 sections 9 & 10 |  |