Product Template 3b	Primary and Secondary Batteries

# Purpose

This product template identifies the parameters that should be defined and the standards against which each parameter should be tested to enable a realistic comparison to be made between competing products.

# Scope

The template is applicable to all batteries used to provide main and back-up direct current power for Aids to Navigation systems on land and afloat.

3b	Primary and Secondary Batteries

| Ref. No | Category | Parameter | Test Method | Comments |
| --- | --- | --- | --- | --- |
| 1.1 | Electrical | Capacity |  | Stated at C/5; C/20; C/100 discharge rate |
| 1.2 |  | Voltage |  | Nominal |
| 1.3 |  | Boost charge voltage |  |  |
| 1.4 |  | Float charge voltage |  | Define connector and/or terminal type |
| 1.5 |  | Final discharge voltage |  | At C100 discharge rate |
| 1.6 |  | Maximum charge current |  |  |
| 1.7 |  | Maximum discharge current |  |  |
| 1.8 |  | Temperature compensation of charge voltage |  | State value |
| 2.1 | Physical | Dimensions |  |  |
| 2.2 |  | Weight |  |  |
| 2.3 |  | Terminations |  |  |
| 2.4 |  | Materials |  | Construction materials |
| 2.5 |  | Finish |  |  |
| 2.6 |  | MTBF |  |  |
| 3.1 | Environmental | Temperature – operational and storage |  |  |
| 3.2 |  | Humidity – operational and storage | IEC 600945 section 8.3; IEC 60068-2-3; JIS C 5024 |  |
| 3.3 |  | Immersion | IEC 600945 section 8.9; JIS C 0920 |  |
| 3.4 |  | Salt air and sea water spray | IEC 600945 section 8.12 |  |