Parameters for Product Template 3 – Power Systems

3a	Solar Modules:

Electrical Characteristics – Max Power; Voltage at max power, Current at max power, Short circuit current, Open circuit voltage, Temperature coefficient

Physical – Dimensions, Weight, Terminations, MTBF

Environmental - Environmental protection

### 3b	Primary and Secondary Batteries

Electrical Characteristics – Capacity, Voltage, Charge profile, Discharge profile, Cycle life, self-discharge

Physical – Dimensions, Weight, Materials, Plate type, Electrolyte, Terminals, MTBF

Environmental - Temperature performance

3c	Diesel Alternators:

- Engine:

Cooling system, Cooling fluid, Fuel consumption, Power, Duty Cycle, Rotation speed

Physical – Size, Weight, Noise level, MTBF

- Alternator

Electrical – Voltage, Power rating, phases, Insulation Class

Environmental –

- Control System

3d	Wind Generators:

Electrical – Voltage, Wind speed/Power characteristics, insulation class, voltage regulation, minimum wind speed, braking system, lightning protection.

Physical – Rotation type (vertical, horizontal, savonias) Rotation speed, speed regulation, maximum wind speed, weight, turbine blade diameter, rated life, maintenance requirements, environmental protection, Blade and body material, paint finish, MTBF

Environmental -

3e	Chargers:

Electrical – Supply voltage, supply frequency, output voltage, output current, metering, short circuit protection, over voltage protection, boost/float characteristic

Control – Charge control, alarms outputs, resets

Physical – Cooling, weight, size, rated life, MTBF

Environmental -

3f	PV Solar Regulators:

Electrical – Input voltage, output voltage, output current, metering, short circuit protection, over voltage protection, energy consumption

Control – Charge control, alarms outputs, resets

Physical – Cooling, weight, size, rated life, MTBF

Environmental - -