## Product Template 3a – PV Solar Modules

# Purpose

This product template identifies the parameters that should be defined and the standards against which each parameter should be tested to enable a realistic comparison to be made between competing products.

# Scope

The template is applicable for PV solar Modules used in AtoN power systems

## Product Template 3a – PV Solar Modules

| Ref. No | Category | Parameter | Test Method | Comments |
| --- | --- | --- | --- | --- |
| 1.1 | Electrical | Peak Power |  | State voltage tolerance |
| 1.2 |  | Voltage at Peak Power |  |  |
| 1.3 |  | Current at Peak Power |  |  |
| 1.4 |  | Short circuit current |  | Define connector and/or terminal type |
| 1.5 |  | Open circuit voltage |  |  |
| 1.6 |  | Temperature coefficient at short circuit current. |  |  |
| 1.7 |  | Temperature coefficient at open circuit voltage. |  |  |
| 1.8 |  | Solar cell type |  | State type – mono-crystalline; poly crystalline; |
| 2.1 | Physical | Dimensions |  |  |
| 2.2 |  | Weight |  |  |
| 2.3 |  | Methods of fixing |  |  |
| 2.4 |  | Terminations |  |  |
| 2.5 |  | Module Materials |  | Construction materials |
| 2.6 |  | Frame Material |  |  |
| 2.7 |  | Finish |  |  |
| 2.8 |  | MTBF |  |  |
| 2.9 |  | Ingress Protection |  | Define applicable IP number to EN60529 |
| 3.1 | Environmental | Temperature – operational and storage |  |  |
| 3.2 |  | Humidity – operational and storage | IEC 600945 section 8.3; IEC 60068-2-3; JIS C 5024; MIL-STD-202G-103B |  |
| 3.3 |  | Immersion | IEC 600945 section 8.9; JIS C 0920; MIL-STD-202G-104A |  |
| 3.4 |  | Salt air and sea water spray | IEC 600945 section 8.12; MIL-STD-202G-101E |  |