PRODUCT CERTIFICATION TEMPLATE 3d

Wind generators

# Purpose

This product template identifies the parameters that should be defined and the standards against which each parameter should be tested to enable a realistic comparison to be made between competing products.

# Scope

The template is applicable to wind generators

## Product Template 3d – Wind generators

| Ref. No | Parameter category | parameter | Test Specification | Comments |
| --- | --- | --- | --- | --- |
| 1.1 | Electrical | Output voltage |  |  |
| 1.2 |  | Nominal rotation speed |  |  |
| 1.3 |  | Nominal output power |  |  |
| 1.4 |  | Insulation class |  |  |
| 1.5 |  | Start-up wind speed |  |  |
| 1.6 |  | Power output/instantaneous wind speed |  | Performance curves |
| 1.7 |  | Voltage regulation |  |  |
| 1.8 |  | Over-speed protection |  |  |
| 1.9 |  | Lightning protection |  |  |
| 2.1 | Physical | Rotation type |  | Horizontal, vertical, savonius etc |
| 2.2 |  | Rotor diameter |  |  |
| 2.3 |  | Total weight |  |  |
| 2.4 |  | Blades materials |  |  |
| 2.5 |  | Body materials |  |  |
| 2.6 |  | Speed regulation |  |  |
| 2.7 |  | Nominal pitch |  |  |
| 2.8 |  | Survival wind speed |  |  |
| 2.9 |  | Braking system |  |  |
| 2.10 |  | MTBF |  |  |
| 2.12 |  | Rated life |  |  |
| 2.13 |  | Maintenance requirements |  |  |
| 3.1 | Environmental | Temperature – operational and storage |  |  |
| 3.2 |  | Humidity – operational and storage | IEC 600945 section 8.3; IEC 60068-2-3 |  |
| 3.3 |  | Sealing |  | International Protection (IP) rating |
| 3.4 |  | Salt air and sea water spray | IEC 600945 section 8.12 |  |
| 3.5 |  | Paint finish |  |  |
| 3.6 |  | Shock and vibration | IEC 600945 section 8.7 |  |
| 3.7 |  | Electromagnetic interference | IEC 600945 sections 9 & 10 |  |