PRODUCT CERTIFICATION TEMPLATE 3c

Diesel generators

# Purpose

Product templates identify parameters that should be tested and the standards against which each parameter should be tested to enable a comprehensive evaluation of products.

# Scope

The template is applicable to diesel generators.

# Test Standards

The Templates quote international standards. If an IALA Product Certification Authority (IALA-PCA) wishes to use an alternative standard, it is the responsibility of the IALA-PCA to confirm that the standard used conforms to the IALA quoted standard. Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.

## Product Certification Template 3c – Diesel generators

Product Type / Manufacturer Reference Number:

| Ref. No | Parameter category | Parameter | Measured Value | Test Method | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | ### Electrical |  |  |  |  |
| 1.1 |  | Nominal output power |  | ISO 8528 | KVA, kW |
| 1.2 |  | Nominal frequency |  | ISO 8528 | hz |
| 1.3 |  | Phases |  |  |  |
| 1.4 |  | Output voltage |  | ISO 8528 |  |
| 1.5 |  | Power rating |  | ISO 8528 | Continuous and Peak |
| 2 | ### Physical |  |  |  |  |
| 2.1 |  | Weight |  |  |  |
| 2.2 |  | Size |  |  |  |
| 2.3 |  | Mounting arrangement |  |  | Alternator, Coupling, baseframe |
| 2.4 |  | Minimum package for transportation |  |  |  |
| 3 | ### Alternator |  |  |  |  |
| 3.1 |  | Nominal rotation speed |  |  |  |
| 3.2 |  | Insulation system, class |  |  |  |
| 3.3 |  | Voltage regulation |  | ISO 8528 |  |
| 3.4 |  | Electrical design |  | IEC 60034 |  |
| 3.5 |  | Over-speed limit |  | ISO 8528 |  |
| 4 | Engine |  |  |  |  |
| 4.1 |  | Type and Construction |  |  |  |
| 4.2 |  | Cylinder configuration |  |  |  |
| 4.3 |  | Nominal speed |  | ISO 8528 |  |
| 4.4 |  | Speed regulation |  | ISO 8528 |  Percentage of nominal |
| 4.5 |  | Over-speed protection |  |  |  |
| 4.6 |  | Maximum power at rated rpm |  | ISO 8528 |  |
| 4.7 |  | Starting system |  |  | Type of starter motor |
| 4.8 |  | Cooling system, cooling fluid |  |  |  |
| 4.9 |  | Fuel consumption |  | ISO 8528 |  |
| 4.10 |  | MTBF |  |  |  |
| 4.11 |  | Hand starting possibility |  |  |  |
| 5 | ### Control system |  |  |  |  |
| 6 | Environmental |  |  |  |  |
| 6.1 |  | Temperature – operational and storage |  |  | Associated derating in output Is an external power supply needed for heaters for the engine to be able to start in very low temperatures |
| 6.2 |  | Humidity – operational and storage |  | IEC 600945 section 8.3; IEC 60068-2-3 |  |
| 6.3 |  | Sealing |  |  | International Protection (IP) rating |
| 6.4 |  | Salt air and sea water spray |  | IEC 600945 section 8.12 |  |
| 6.5 |  | Paint finish |  |  |  |
| 6.6 |  | Shock and vibration |  | IEC 600945 section 8.7; |  |
| 6.7 |  | Electromagnetic interference |  | IEC 600945 sections 9 & 10 |  |
| 6.8 |  | Noise level |  | ISO 8528-10 |  |
| 6.9 |  | Exhaust system |  |  |  |
| 6.10 |  | Air supply requirements for combustion and cooling air |  |  |  |
| 6.11 |  | Exhaust gas emissions |  | ISO 8528-6 |  |
| 7 | ### Service |  |  |  |  |
| 7.1 |  | Maintenance free period |  |  |  |
| 7.2 |  | Maintenance intervals |  |  | Specify for all components: air filter, lubrication oil filter, fuel filter etc. |
| 7.3 |  | Assured service life |  |  |  |
| 7.4 |  | Operation and Maintenance documentation |  |  |  |
| 8 | ### Disposal |  |  |  |  |
| 8.1 |  | Obligatory and recommended disposal method |  |  | IALA guideline 1036 – Environmental Considerations in Aids to Navigation Engineering |

 Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.