PRODUCT CERTIFICATION TEMPLATE 3a

#### PV Solar Modules

# Purpose

Product templates identify parameters that should be tested and the standards against which each parameter should be tested to enable a comprehensive evaluation of products.

# Scope

The template is applicable for PV solar Modules

# Test Standards

The Templates quote international standards. If an IALA Product Certification Authority (IALA-PCA) wishes to use an alternative standard, it is the responsibility of the IALA-PCA to confirm that the standard used conforms to the IALA quoted standard. Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.

Product Certification Template 3a – PV Solar Modules

Product Type / Manufacturer Reference Number:

| Ref. No | Parameter category | Parameter | Measured Value | Test Method | Comments |
| --- | --- | --- | --- | --- | --- |
| 1. | Electrical |  |  |  |  |
| 1.1 |  | Peak Power at end of design life |  |  | State voltage tolerance |
| 1.2 |  | Voltage at Peak Power |  | IEC 61215 |  |
| 1.3 |  | Current at Peak Power |  | IEC 61215 |  |
| 1.4 |  | Short circuit current |  | IEC 61215 | Define connector and/or terminal type |
| 1.5 |  | Open circuit voltage |  | IEC 61215 |  |
| 1.6 |  | Temperature coefficient at short circuit current. |  | IEC 61215 |  |
| 1.7 |  | Temperature coefficient at open circuit voltage. |  | IEC 61215 |  |
| 1.8 |  | Solar cell type |  |  | State type e.g. mono-crystalline, poly crystalline |
| 2. | Physical |  |  |  |  |
| 2.1 |  | Dimensions |  |  |  |
| 2.2 |  | Weight |  |  |  |
| 2.3 |  | Methods of fixing |  |  |  |
| 2.4 |  | Terminations |  |  |  |
| 2.5 |  | Module Materials |  |  | Construction materials |
| 2.6 |  | Frame Material |  |  |  |
| 2.7 |  | Finish of frame material |  |  |  |
| 2.8 |  | MTTF |  |  |  |
| 2.9 |  | Ingress Protection |  |  | Define applicable IP number to EN60529 |
| 2.10 |  | Withstanding of hail and icing |  | IEC 61215 |  |
| ## 3 | Environmental |  |  |  |  |
| ## 3.1 |  | Temperature – operational and storage |  |  |  |
| ## 3.2 |  | Humidity – operational and storage |  | IEC 60945 section 8.3; IEC 60068-2-3 | JIS C 5024; MIL-STD-202G-103B |
| ## 3.3 |  | Immersion |  | IEC 60945 section 8.9 | JIS C 0920; MIL-STD-202G-104A |
| ## 3.4 |  | Salt air and sea water spray |  | IEC 60945 section 8.12 | MIL-STD-202G-101E |
| # 4 | # Service |  |  |  |  |
| 4.1 |  | Maintenance free period |  |  |  |
| 4.2 |  | Rework at stated intervals possible |  |  |  |
| 4.3 |  | Assured service life of all components |  |  |  |
| # 5 | # Disposal |  |  |  |  |
| # 5.1 |  | Obligatory and recommended disposal method |  |  | IALA guideline 1036 – Environmental Considerations in Aids to Navigation Engineering |

 Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.