PRODUCT CERTIFICATION TEMPLATE 3d

Wind generators

# Purpose

Product templates identify parameters that should be tested and the standards against which each parameter should be tested to enable a comprehensive evaluation of products.

# Scope

The template is applicable to wind generators.

# Test Standards

The Templates quote international standards. If an IALA Product Certification Authority (IALA-PCA) wishes to use an alternative standard, it is the responsibility of the IALA-PCA to confirm that the standard used conforms to the IALA quoted standard. Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.

## Product Certification Template 3d – Wind powered generators

Product Type / Manufacturer Reference Number:

| Ref. No | Parameter category | Parameter | Measured Value | Test Method | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Electrical |  |  |  |  |
| 1.1 | ### Generator |  |  |  |  |
| 1.1.1 |  | Electric generator type |  |  | AC,DC, permanent magnet,… |
| 1.1.2 |  | Nominal output power (at end of useful life) |  |  |  |
| 1.1.3 |  | Number of pole if AC |  |  |  |
| 1.1.4 |  | Output voltage |  |  | Value, number of phase if alternative , frequency |
| 1.1.5 |  | Nominal rotation speed of the electric generator |  |  |  |
| 1.1.6 |  | Insulation class |  |  |  |
| 1.1.7 |  | Power output /instantaneous wind speed |  |  | Power curve, performance curves |
| 1.2 | Battery charge regulation system |  |  |  |  |
| 1.2.1 |  | Voltage adaptation |  |  | Transformer; chopper, DC outputs available values |
| 1.2.2 |  | End of charge level switching |  |  | adjustable |
| 1.2.3 |  | End of discharge level switching |  |  | adjustable |
| 1.2.4 |  | Display devices |  |  | Type, Amp, volt |
| 1.2.5 |  | Electromagnetic compatibility |  |  |  |
| 1.2.6 |  | Weight & Size |  |  |  |
| 2 | Physical |  |  |  |  |
| 2.1 | Rotor | Rotation type |  |  | Horizontal, vertical, savonius, etc. |
| 2.1.1 |  | Rotor diameter |  |  | Or swepted area |
| 2.1.2 |  | Number of blade |  |  |  |
| 2.1.3 |  | Nominal pitch |  |  |  |
| 2.1.4 |  | Blade width |  |  | constant, variable, twisted; profile type |
| 2.1.5 |  | Blades materials |  |  |  |
| 2.1.6 |  | Tightening way on the shaft |  |  |  |
| 2.1.7 |  | Weight of the rotor |  |  |  |
| 2.1.8 |  | #### Speed regulation system |  |  | Short description, fathering, stall… |
| 2.1.9 |  | Nominal wind speed |  |  |  |
| 2.1.10 |  | Start-up wind speed |  |  |  |
| 2.1.11 |  | Survival wind speed |  |  |  |
| 2.2 | ### Gear box |  |  |  |  |
| 2.2.1 |  | Type |  |  |  |
| 2.2.2 |  | Ratio |  |  |  |
| 2.3.3 |  | Oil contents |  |  | Time between drain |
| 2.3 | #### Body |  |  |  |  |
| 2.3.1 |  | Body materials |  |  |  |
| 2.3.2 |  | Braking system |  |  |  |
| 2.3.3 |  | Slip ring / collector ring |  |  |  |
| 2.3.4 |  | Yaw type |  |  |  |
| 2.3.5 |  | Mode of tightening on the mast |  |  |  |
| 2.3.6 |  | Weight of the body |  |  | Including generator gear box and yaw |
| 2.4 | ### Orientation |  |  |  |  |
| 2.4.1 |  | Up wind, down wind |  |  | Short description of the rudder |
| 2.4.2 |  | Total weight |  |  |  |
| 2.4.3 |  | MTBF |  |  |  |
| 3 | Environmental |  |  |  |  |
| 3.1 |  | Temperature – operational and storage |  |  |  |
| 3.2 |  | Humidity – operational and storage |  | IEC 60945 section 8.3; IEC 60068-2-3 |  |
| 3.3 |  | Sealing |  |  | International Protection (IP) rating |
| 3.4 |  | Salt air and sea water spray |  | IEC 60945 section 8.12 |  |
| 3.5 |  | Paint finish |  |  |  |
| 3.6 |  | Shock and vibration |  | IEC 60945 section 8.7 |  |
| 3.7 |  | Electromagnetic interference |  | IEC 60945 sections 9 & 10 |  |
| 3.8 |  | Withstanding of hail and icing |  |  |  |
| 3.9 |  | Lightning protection |  |  |  |
| 4 | Service |  |  |  |  |
| 4.1 |  | Maintenance free period |  |  |  |
| 4.2 |  | Rework at stated intervals possible |  |  |  |
| 4.3 |  | Assured service life |  |  |  |
| 4.4 |  | Description of inspection methods |  |  |  |
| 5 | Disposal |  |  |  |  |
| 5.1 |  | Obligatory and recommended disposal method |  |  | IALA guideline 1036 – Environmental Considerations in Aids to Navigation Engineering |

 Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.