PRODUCT CERTIFICATION TEMPLATE 3e

Battery Chargers

# Purpose

Product templates identify parameters that should be tested and the standards against which each parameter should be tested to enable a comprehensive evaluation of products..

# Scope

The template is applicable to battery chargers used on AtoN

# Test Standards

The Templates quote international standards. If an IALA Product Certification Authority (IALA-PCA) wishes to use an alternative standard, it is the responsibility of the IALA-PCA to confirm that the standard used conforms to the IALA quoted standard. Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.

## Product Certification Template 3e – chargers

Product Type / Manufacturer Reference Number:

| Ref. No | Parameter category | Parameter | Measured Value | Test Method | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | ### Electrical |  |  |  |  |
| 1.1 |  | Battery type Applicability |  |  | Control method and battery types |
| 1.2 |  | Output current |  |  | Output current limit |
| 1.3 |  | Output voltage |  |  |  |
| 1.4 |  | Supply voltage |  |  |  |
| 1.5 |  | Supply frequency |  |  |  |
| 1.6 |  | Fast charge current and termination voltage |  |  |  |
| 1.7 |  | Equalization voltage range |  |  |  |
| 1.8 |  | Float voltage range and float charge termination current |  |  |  |
| 1.9 |  | Power conversion efficiency |  |  |  |
| 1.10 |  | Short circuit protection |  |  |  |
| 1.11 |  | Standby current |  |  |  |
| 1.12 |  | Over voltage protection |  |  |  |
| 1.13 |  | multiple batteries charge |  |  |  |
| 2 | ### Control |  |  |  |  |
| 2.1 |  | Charge control |  |  |  |
| 2.2 |  | Charge algorithm |  |  |  |
| 2.3 |  | Monitoring, alarm outputs |  |  |  |
| 2.4 |  | Resets |  |  |  |
| 2.5 |  | Temperature sensing of batteries |  |  |  |
| 3 | ### Physical |  |  |  |  |
| 3.1 |  | Size |  |  |  |
| 3.2 |  | Weight |  |  |  |
| 3.3 |  | Sealing |  |  | International Protection (IP) rating |
| 3.4 |  | Ventilation requirements |  |  |  |
| 3.5 |  | MTBF |  |  |  |
| 4 | ### Environmental |  |  |  |  |
| 4.1 |  | Temperature – operational and storage |  |  | Specified temperature range |
| 4.2 |  | Humidity – operational and storage |  | IEC 60945 section 8.3; IEC 60068-2-3 |  |
| 4.3 |  | Immersion |  | IEC 60945 section 8.9 |  |
| 4.4 |  | Salt air and sea water spray |  | IEC 60945 section 8.12 |  |
| 4.5 |  | Ultraviolet exposure |  |  |  |
| 4.6 |  | Shock and vibration |  | IEC 60945 section 8.7 |  |
| 4.7 |  | Electromagnetic interference |  | IEC 60945 sections 9 & 10 |  |
| 5 | ### Service |  |  |  |  |
| 5.1 |  | Maintenance free period |  |  |  |
| 5.2 |  | Assured service life |  |  |  |
| 6 | Disposal |  |  |  |  |
| 6.1 |  | Obligatory and recommended disposal method |  |  | IALA guideline 1036 – Environmental Considerations in Aids to Navigation Engineering |

 Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.