# Examples of condition based tests methods

- Chain wear

- Bearing vibration

- Bearing temperature

- Battery admittance/ conductance

- Battery water consumption

- Battery voltage, with temperature correction if necessary

- Battery charger fail

- Battery electrolyte specific gravity

- Battery discharge test

- Floating aid position

- Position (eg DGPS integrity monitor)

- Surface colour

- Paint thickness

- Paint adhesion

- Structures metal thickness

- Building humidity – damp meter and wet/ dry bulb thermometer

- Building temperature

- Building IR camera

- Cathodic anode consumption

- Lamp service life/ spares consumption

- Electrical energy consumption

- Electrical current

- Electrical voltage

- Electrical frequency

- Check wind/ solar gen output against met weather conditions

- Dirt contamination

- Contact/ connection/ area temperature

- Oil consumption

- Oil temperature

- Oil pressure

- Oil quality

- Diesel Gen overload ability

- Electronic systems

    - Leave alone!!!!!!

    - Board visible corrosion

    - Temperature using IR camera

    - Output test to specification

- Software

    - Functional test

    - Self test/ watch dog

- Functional test, including redundant systems

- Insulation resistance

- Inductance

- Earth resistance

- Output power history

- Lattice tower verticality

- Daymark shape

- Light intensity

- Cover daylight switch

- Monitor light on/ light off times using RCMS

- Ship tests

    - Obstruction for light

    - Sector check

- Visual checks

    - Safety harness rails

    - Surface corrosion

    - Building condition

    - Access routes

    - Pointing of stone structures/ walls

    - Obstruction growing around lights, antennae

- Security checks