# Check list – Exhibition of lighthouse ……………………….…………

- Prior to each season the Leaseholder shall check all items as per this list and take appropriate measures for the lighthouse accordingly

- In the check list shall be stated the number of visitors the previous year. The number of visitors shall be stated per month as per statistics noted.

- After the lighthouse has been gone through but before the start of the exhibition season – however not later than April 30 – a filled out copy of this check list shall be submitted each year to

Sjöfartsverket

Farledsavdelningen

601 78  Norrköping

Organization and routines

Define organization and local rules for exhibitions

|  | Minimum one responsible guide at each exhibition. |
| --- | --- |
|  | Fix the quantity of visitors per group. Normally not more than 10 persons. Avoid having too many visitors at the same time in narrow lantern houses. |
|  | Define the best way to meet in the staircases (keep to the right). |
|  | First-aid equipment shall be easily accessible. |
|  | Exhibition guides shall carry a mobile phone for alarm and contacts with other staff on site. |
|  | Make routines for counting the number of visitors. |
|  | Guides and own staff shall have basic knowledge of fire protection and basic medical treatment. |
|  | Confer with the local Rescue Service (Räddningstjänsten) about routines at exhibitions and actions to take in case of fire or accidents. |
|  | A copy of a valid third party insurance including terms of insurance and receipt shall be attached to this list. |

Physical checks

|  | Fire alarm system to be checked as per separate instruction. |
| --- | --- |
|  | Check the fire extinguishers (suspension devices, in good condition, the pressure gauge shall show to be approved). |
|  | Combustibles: Keep tidy, and keep a minimum of combustibles in the lighthouse. |
|  | Make visual inspection of electric cables and electric equipment. |
|  | Check disposition of batteries; check safety devices against battery acid. |
|  | Check railings, staircases and landings. Attatchments, damages, etc. |
|  | Check railings and nets at the lantern terrace. Check shields against objects falling from the lighthouse. |
|  | Check safety devices against crushing at rotating machinery. |
|  | Check that there are warnings on thresholds, beams, machine components, etc. which might cause injury or where people may stumble. |

Information to be announced to visitors

The following rules apply in the lighthouse

|  | Keep to the right in the stairs. |
| --- | --- |
|  | Children under the age of 12 are allowed only if accompanied by a grown-up. |
|  | Small children are not to be carried on the back or shoulders. |
|  | Dogs or other house pets are not allowed in the lighthouse. |
|  | Smoking or open fire is not allowed in the lighthouse. |
|  | Bottles and thermos flasks are not allowed in the lighthouse. |

Miscellaneous

The lighthouse should be kept closed in case of thunderstorms.

Number of visitors

Statement of the number of visitors during the exhibition season in year ……………

Number of visitors, May ……...	Number of visitors, June ………..	Number of visitors, July ………..

Number of visitors, Aug. ………	Number of visitors, Sept. ………	Number of visitors, Oct. ………..

Number of visitors at other times ………	Total number of visitors ………..

The above measures and checks have been made and will be applied at exhibition of the lighthouse.

Place and date: ……………………………………………………………………………………

Responsible for the exhibition activities:………………………………………………………….

Clarification of signature:…………………………………………………………………………

Enclosures: 	Third party insurance

(copies)	Terms of insurance

Receipt