Input paper:   ENG5-5.1

Input paper for the following Committee(s): 	check as appropriate		Purpose of paper:

□  ARM  	 ENG		□  PAP					□  Input

□  ENAV	□  VTS							  Information

Agenda item 				5.1

Technical Domain / Task Number 2	Task 5.3.1

Author(s) / Submitter(s)			Peter Dobson

# Developments in Renewable Energy Sources

# Summary

This paper presents a new product that can be quickly installed to provide a self-contained solar system that has the ability to track the sun.

# SmartFlower pop

The smart flower is a self-contained solar system, with a 2.3kW solar tracking array. The off grid variant has some 4.6kWh of stored energy in lithium batteries housed within the base. The output power can provide up to 3kW AC mains continuous load.

Smartflower

Sectional View.

MP4

The Smartflower will track the sun up to wind speeds of 54 km/h (33mph or 15m/s or force 7). At this point the unit stops tracking and orientates the panels horizontally. At wind speeds greater than 63km/h (39mph or 17.5m/s or force 8) the unit folds up.

# Action requested of the Committee

The Committee is requested to:

- Share this information with other committee members.

Input document number, to be assigned by the Committee Secretary

Leave open if uncertain