Manual for meteorological data for solar power calcuation tool

E

Edition 1 December 2017

Revisions to this IALA Document are to be noted in the table prior to the issue of a revised document.

| Date | Page / Section Revised | Requirement for Revision |
| --- | --- | --- |
| December 2017 |  | First issue |

1	INTRODUCTION	4

2	Short manual for meteorology and Solar Energy	4

3	Get Latitude and Longitude of a site from a web based map	9

# INTRODUCTION

The following the description shows how to extract relevant data from a public NASA website.

Another website to derive data from is http://re.jrc.ec.europa.eu/pvgis/apps4/pvest.php.

# Short manual for meteorology and Solar Energy

| Description | Action |
| --- | --- |
| http://eosweb.larc.nasa.gov/sse/ | Click on the link at the left side to access the NASA's website. |
|  | Step 1: Click on the link shown on the left side. |
|  | Step 2: Click on the link shown on the left side. |
|  | Step 3: Enter the geographical position where your AtoN is located. To derive coordinates from a map you can use http://www.latlong.net/ (see short description at the end of the table). Then press the button “Submit”. In this example, it is used a location in Svalbard. |
|  | Step 4: Select the headlines. Click on the link "Parameters" for more information and definition |
|  | Step 5: Add more choices to suit your location Select all parameters and press “Submit” button at the bottom |
|  | Step 6: Use parameters in "Monthly Average…” and subtract the percentage difference according to "Minimum" column below. This must be done manually. The result is passed into the IALA excel sheet. |
|  | Step 7: Data from step 6 is to copied in this section at table ‘radiation & duration of night’ of the Excel sheet. |
|  | Step 8: Use the value of NASA table for the monthly average hours of daylight, convert it into duration of night (= 24 – daylight hours) and copy them into the IALA excel sheet. Example for the month of June are shown here. |

# Get Latitude and Longitude of a site from a web based map

| Description | Action |
| --- | --- |
| http://www.latlong.net/ | Click on the link at the left side to access a free program online, to find a certrain location |
|  | Click the map and the position with respect. Latitude and longitude of the location you have selected is displayed. |